## Slide 1: Seminole Community Solar Initiatives
Florida Electric Cooperatives Association
2015 Engineers Conference
Glenn Spurlock
June 8, 2015

## Slide 2: Technical Solar Challenges
Solar is Non-Dispatchable
Solar is Must-Take Energy – Regardless of the Costs
Solar Forces Two Shifting of Fossil Fuel Units
  Increases Maintenance Costs of Fossil Units
  Reduces Reliability of Fossil Units
High-Density of Solar Causes:
  Grid Instability Issues
  Grid Voltage & Power Quality Issues

## Slide 3: Grid Impacts

## Slide 4: Why Solar Gains in Popularity?
Early adopters embrace solar to be “Green” (regardless of cost)
Solar costs continue to drop due to:
  Regulatory Support
    Federal Investment Tax Credit - Renewable Portfolio Standards
    Net Metering Policies - Pressure to Reduce Coal Generation
  Technological advancements
  Mass production
  Simplicity of residential installations (Plug & Play)
Solar becomes cost effective in some high utility cost markets
Media encourages Solar

## Slide 5: Seminole Solar Research
End-consumers (@ annual meetings) request solar energy
Consumer survey indicates solar Interest
Seminole researches solar energy options, as shown on the following slides:

## Slide 6: Solar Thermal Water Heating

## Slide 7: Solar Thermal Water Heating

## Slide 8: Concentrated Solar Thermal Power (CST)

## Slide 9: Concentrated Solar Thermal Power (CST)

## Slide 10: Concentrated Solar Power (CSP) Technologies
Dish

## Slide 11: Concentrated Solar Power (CSP) Technologies
Concentrated Solar Power Facility

## Slide 12: Utility-Scale Solar Photovoltaic

## Slide 13: Utility-Scale Solar Photovoltaic

## Slide 14: Seminole Community Solar Initiatives
3/31 - Issued Request For Proposals (RFP) with two options:
  Engineer, Procure, Construct (EPC)
    MGS Site
    2 MWAC
    25 year life
    Fixed Tilt or Single Axis Tracking
  Power Purchase Agreement (PPA)
    Within peninsular Florida
    2 MW (open to consider 2 MW – 20 MW)
    Term 20-30 years
    Technology Agnostic

## Slide 15: Seminole Community Solar Initiatives
4/08 – EPC Mandatory project walk-down
4/14 – Bidder Qualification Questionnaire Deadline
4/22 – Bid Clarification Deadline
5/08 – Bid Submission Deadline
      Received 5 EPC Bids & 4 PPA Bids
7/09 – Board Approval to Award Contract
11/02/2016 – Commercial Operation Date