## Slide 1: Seminole Initiatives
FECA Engineers Conference
Glenn Spurlock
June 7, 2016

## Slide 2: Seminole Initiatives
Seminole Solar – The Project
Seminole Solar – Marketing Materials
Energy Efficiency

## Slide 3: Seminole Initiatives
Seminole Solar – The Project

## Slide 4: Seminole Solar – The Project (Review)
Issued Request For Proposals with two options:
  Engineer, Procure, Construct (EPC)
    MGS Site
    2 MWAC
    25 year life
    Fixed Tilt or Single Axis Tracking
  Power Purchase Agreement (PPA)
    Within peninsular Florida
    2 MW (open to consider 2 MW – 20 MW)
    Term 20-30 years
    Technology Agnostic

## Slide 5: Seminole Solar – The Project
Inverter
AC
DC
Step-Up Transformer
Low (V)
Med (V)
Substation
Distribution Lines
385 V
1000V
12.47 kV
High (V)

## Slide 6: Seminole Solar – The Project (Review)
4/08 – EPC Mandatory project walk-down
4/14 – Bidder Qualification Questionnaire Deadline
4/22 – Bid Clarification Deadline
5/08 – Bid Submission Deadline
      Received 5 EPC Bids & 4 PPA Bids

## Slide 7: Seminole Solar – The Project Status Update
EPC “Self-Build” Option Selected
Radiance Solar, LLC Selected as EPC Contractor
Contract Executed
Contract Assigned to Farm Credit Leasing (Owner)
Facilities Lease Documents Executed
Site Geotechnical Study - Project Design and Layout Modified

## Slide 8: Seminole Solar – The Project Status Update
Grazing Lease Modified and Cattle Removed
FDEP Amendment Approved
Grid Interconnection Study Started
Site Clearing is Underway
Project Kick-off Meeting Occurred on June 2nd
Groundbreaking – June 14th
Site TOPO Survey - June 15th
Video Shoot - June 30th
June 7, 2016

## Slide 9: Seminole Solar – The Project Status Update
June 7, 2016

## Slide 10
Seminole Solar – The Project Status Update
June 7, 2016

## Slide 11: Project Summary
2.2 MWAC @ peak (≈320 watts/panel)
First Year Annual Energy Forecast - 5,000+ MWh
Located at MGS facility
EPC Contract
Owned by Farm Credit Leasing
Approximately 29 acres
12.47 kV Grid Interconnection with PRECO
Financing with benefit of 30% Federal Investment Tax Credit
Substantial Completion – November 2016
June 7, 2016

## Slide 12: Seminole Initiatives
Seminole Solar – Marketing Materials

## Slide 13: Seminole Solar – Marketing Materials

## Slide 14
Community solar: a cooperative approach
Co-ops make solar affordable
Co-op energy advisors can help members make smart energy investments, including right-sizing solar arrays so you don’t pay for more than you need
Co-ops are local, not-for-profit, member-owned utilities – we strive to provide affordable power to our Members
Cooperative solar is simple
With community solar, members don’t need to take on the risk and liability associated with rooftop solar
If you move locally, your solar energy moves with you
Consumers can immediately benefit from participation either by credits on their bill or rate savings
Members can monitor the performance of the array
Cooperative Solar is safe and reliable
Community-owned and operated solar is safe: the co-op handles all the installation and maintenance
The co-op manages power produced by the solar array
Trusted relationship
Notes: Seminole started the marketing process in July of 2015 with a communicators meeting to develop a plan for marketing/communications for the project, objectives, goals, and deliverable outcomes.
At the meeting we identified:
Message Triangle (NRECA Solar toolkit) Community solar is affordable, safe, reliable, and simple
Key and secondary audiences,
identified key messages, for materials
Our Members asked…and we listened… Seminole “Cooperative Solar”
The relationship that our Members have with end-use consumers is key to the marketing strategy:
  Cooperative Solar is a safe, reliable, affordable and simple way to participate in solar

## Slide 15
Solar Fit for the Cooperative
Aligns with what we do best:
  Provide safe and reliable energy to our Members
  Allows Seminole to take advantage of economies of scale
  Engage our Members directly
  Use our expertise and knowledge to optimize the system to provide maximum value
Solar Fit for Member-Consumers
Provides opportunity for our member-consumers:
  Members benefit from economies of scale
  Removes barriers: physical and financial
  No third party relationship
  Allows Members to share in the value of the co-op’s grid integration of renewables
Notes: NRECA: Community Solar fit: changed for Seminole’s project
We looked at the goals and objectives of Cooperative Solar and came up with the deliverables

## Slide 16
Share The Power Of The Sun
Share The Power Of The Sun
Press Release: Seminole Solar Project “Cooperative Solar”
Individualized Member Logos
Community Talking Points
Information Card
Community Power Point Presentation
Member Connections Column
Cooperative Solar Video
Member Cooperative Solar Toolkit:
  Quarter-page Ad
  Yard signs/window clings
  Brochure/information card
  Bill Stuffer
  Business Reply Card
Cooperative Solar
Marketing Deliverables….
Notes: To date
Completed:
Press Release
Member logos
Community Talking points
Member Communications “Connections Column”
In-progress:
Solar video (expected completion November 2016)
Member toolkit (expected to be online late June)

## Slide 17: Seminole Initiatives
Energy Efficiency

## Slide 18: Energy Efficiency
Seminole is developing a plan that helps characterize the current and potential future EE and DSM activities of Seminole and its Member cooperatives. The Assessment encompasses two primary goals:
  Examine and report on the current practices and programs at Seminole and each Member cooperative including a quantification of energy savings and peak demand reductions; and
  Develop future energy efficiency and demand response (EE/DR) scenarios through 2021, reflecting a range of constraints and assumptions, e.g., specific EE/DR budgets and selected cost-effectiveness constraints.
June 7, 2016

## Slide 19: Energy Efficiency
Seminole Contracted with Advanced Energy/Tierra Resource Consultants for EE & DSM Assistance
Quantify Existing Member Behind-the-Meter Energy Savings/EIA 861
Quantify Existing Power Systems Energy Savings (Seminole and Member Systems)
Enhance Existing Program Efforts and Explore New Cost Effective Programs and Measures (RIM Test)
June 7, 2016

## Slide 20: Energy Efficiency Survey
June 7, 2016

## Slide 21: Seminole Initiatives
Reference Slides

## Slide 22: Planned Schedule
June 7, 2016