25-17.300 Reporting.

Each electric utility shall report, by April first of each year, the following information, actual and projected:

(1) The total megawatts and percentage of each utility’s total capacity mix comprised of renewable generating capacity.

(2) The total megawatt-hours and percentage of each utility’s net energy for load and fuel mix of energy purchased from renewable generation.

(3) The total megawatts and megawatt-hours of self-service generation by renewable generation.

Specific Authority 350.127(2), 366.05(1) FS. Law Implemented 366.04(5), 366.05(7) FS. History–New 3-12-07.